## BG_CC_Arc_PL
Техническо предложение | [8 empty] | Приложение 2
„Доставка на консумативи и реактиви за „ARCHITECT ci 8200” - апарат за изследване на хормони, метаболизъм, микроелементи, молекулярно - биологични показатели, спешна диагностика на сърдечни маркери и други допълнителни тестове”
No | Наименование | Мярка | Количество | Търговско наименование | Производител | Каталожен номер | Мл/л/тест/брой в 1 опаковка | Брой опаковки, съответстващи на общото количество | Съгласие
Реактиви еквивалентни за имунохимичен анализатор Architect ci 8200 - модул клинична химия
1 | Immunoglobulin M | тест | 1119
2 | Prealbumin | тест | 242
3 | Transferrin | тест | 2346
4 | Digoxin | тест | 500
5 | Phenytoin | тест | 300
6 | Carbamazepine | тест | 300
7 | Valproic Acid | тест | 180
8 | LDL Cholesterol Liquid Direct | тест | 4950
9 | CYSTATIN C | тест | 500
10 | Glycated HB A1c | тест | 6000
11 | Microalbumin | тест | 500
12 | HDL Ultra | тест | 15840
13 | CALCIUM RGT | тест | 7500
14 | CREATININE 1875 Т | тест | 22500
15 | GLUCOSE 1500 Т | тест | 55000
16 | ALPHA-AMYL PANCREAT | тест | 320
17 | ALPHA-HBDH UV LIQUID | тест | 576
18 | CK-MB LIQUID | тест | 15000
19 | CRP Vario | тест | 22360
20 | Ferritin | тест | 1960
21 | IgE | тест | 399
22 | Ammonia UV Liquid | тест | 504
23 | Ceruloplasmin | тест | 200
24 | CHOLINESTE-DIBUCAINE | тест | 1284
25 | Copper | тест | 350
26 | IRON PLASMA CLAIM | тест | 11052
27 | Myoglobin | тест | 296
28 | Total Bilirubin 2750 Т | тест | 16500
29 | Albumin BCG 2607 T | тест | 26070
30 | Alkaline Phosphatase | тест | 7500
31 | Alanine Aminotrasferase | тест | 36210
32 | AMYLASE | тест | 7500
33 | Cholesterol | тест | 21224
34 | Creatinine Kinase | тест | 18750
35 | Gamma-Glutamyl Transferase | тест | 15000
36 | IRON 3550 Т | тест | 3550
37 | Lactate Dehydrogenase | тест | 11700
38 | MAGNESIUM 1000 Т | тест | 20000
39 | PHOSPHOROUS | тест | 8400
40 | Total Protein | тест | 21732
41 | Triglyceride | тест | 21224
42 | UREA 1500 Т | тест | 24000
43 | URIC ACID 1300 Т | тест | 19500
44 | Urine/CSF Protein | тест | 209
45 | Lipase | тест | 1556
46 | Aspartate Aminotranferase | тест | 36210
47 | Lipoprotein [a] | тест | 123
48 | TOTAL BILIRUBIN | тест | 18000
49 | Direct Bilirubin | тест | 12000
50 | CREATININE ENZYMATIC | тест | 1660
51 | Acid Phosphatase | тест | 623
52 | Neonatal Bilirubin | тест | 1200
53 | Apolipoprotein A1 | тест | 243
54 | Apolipoprotein B | тест | 243
55 | Complement C3 | тест | 837
56 | Complement C4 | тест | 837
57 | Immunoglobulin A | тест | 1119
58 | Immunoglobulin G | тест | 1164
59 | Digoxin Calibrator | мл | 1.8
60 | CC Valproic Acid Calibrator | мл | 1
61 | CC DIRECT LDL CAL | мл | 6
62 | ICT Serum Calibrator | мл | 250
63 | ICT Urine Calibrator | мл | 100
64 | Multiconstituent Calibrator | мл | 150
65 | Bilirubin Calibrator | мл | 225
66 | HDL Calibrator | мл | 12
67 | Urine/CSF Protein Calibrator | мл | 5
68 | Specific Proteins MCC | мл | 2
69 | CYSTATIN C Calibrator | мл | 2
70 | HbA1C Calibrator | мл | 6
71 | Microalbumin Calibrator | мл | 2
72 | Lipase Calibrator | мл | 1
73 | Apo A1/Apo B Calibrator | мл | 1
74 | Prealbumin Calibrator | мл | 1
75 | Carbamazepine Calibrator | мл | 2
76 | Phenytoin Calibrator | мл | 2
77 | CK-MB Calibrator | мл | 3
78 | CRP Calibrator | мл | 8
79 | CRP Calibrator WR | мл | 8
80 | Clin Chem Calibrator | мл | 24
81 | Plasma Proteins Calibrator | мл | 4
82 | CYSTATIN C CONTROL SET | мл | 2
83 | HbA1c CONTROL | мл | 6
84 | MICROALBUMIN CONTROL | мл | 8
85 | CK-MB CONTROL | мл | 24
86 | CRP CONTROL US | мл | 6
87 | CLIN CHEM CONTROL 1 | мл | 30
88 | CLIN CHEM CONTROL 2 | мл | 30
89 | FERRITIN / MYOGLOBIN / IgE CONTROL 1,2 | мл | 36
90 | AMMONIA CONTROLS 1,2,3 | мл | 10
91 | IMMUNO CONTROL Set (1 & 2) | мл | 20
92 | Lp(a) CONTROL 1,2 | мл | 3
93 | ICT INT Reference Solution | л | 24
94 | Concentrated ICT Sample Diluent | л | 4.5
95 | ICT Cleaning Fluid | мл | 288
96 | Water Bath Additive | л | 1
97 | Acid Wash Solution | л | 25
98 | Alkaline Wash Solution | л | 30
99 | ICT Module | бр | 2
100 | Detergent A | л | 30
101 | Detergent B | л | 1
102 | Reagent Probe Tubing | бр | 1
103 | Reagent Probe (both are the same) | бр | 1
104 | Sample Probe Tubing | бр | 1
105 | Sample Probe | бр | 1
106 | Aero/c8000 Cuvette Wiper | бр | 2
107 | Aero/c8000 Reference/Wash Solution Line Filter | бр | 1
108 | Aero/c8000 Source Lamp | бр | 5
109 | Aero/c8000 Cuvette drying tip | бр | 4
110 | Aero/c8000 Mixer | бр | 2
111 | Aero/c8000 ICT Probe | бр | 1
112 | Aero/c8000 O-Ring ICT | бр | 2
113 | Small Reagent Cartridge Adapter | бр | 1
114 | 20 mL Reagent Cartridge Adapter | бр | 1
115 | Reagent Probe Tubing B | бр | 1
116 | Sample Probe Tubing | бр | 1
117 | Sample Probe | бр | 1
118 | Reagent Probe R1 A/R2B | бр | 1
119 | Reagent Probe Tubing A | бр | 1
120 | Reagent Probe R1 B/R2A | бр | 1
121 | Nozzle Cleaning Wire | бр | 2
Реактиви еквивалентни за имунохимичен анализатор Architect ci 8200 - модул имунохимия
122 | ARC BNP RGT | тест | 200
123 | ARC BNP CAL | мл | 24
124 | ARC BNP CTL | мл | 24
125 | AS ARC HOMOCYSTEIN RGT | тест | 200
126 | AS ARC HOMOCYSTEIN CAL | мл | 22
127 | AS ARC HOMOCYSTEIN CTL | мл | 23
128 | ARC MYOGLOBIN RGT | тест | 200
129 | ARC MYOGLOBIN CAL | мл | 24
130 | ARC MYOGLOBIN CTL | мл | 18
131 | ARC CKMB RGT | тест | 300
132 | ARC CKMB CAL | мл | 18
133 | ARC CKMB CTL | мл | 18
134 | ARC TROPONIN-I RGT 500 T | тест | 5000
135 | ARC TROPONIN CAL | мл | 48
136 | ARC TROPONIN CTL | мл | 180
137 | ARC AFP 2 RGT 400 T | тест | 1200
138 | ARC AFP 2 CTL | мл | 80
139 | ARC AFP CAL | мл | 48
140 | ARC CA 125 II RGT 400T | тест | 1200
141 | ARC CA 125 CAL | мл | 48
142 | ARC CA 125 CTL | мл | 240
143 | ARC CA 15-3 RGT 400 T | тест | 2400
144 | ARC CA 15-3 CAL | мл | 48
145 | ARC CA 15-3 CTL | мл | 160
146 | ARC CA 19-9 RGT XR 400 T | тест | 2400
147 | ARC CA 19-9 XR CAL | мл | 48
148 | ARC CA 19-9 XR CTL | мл | 240
149 | ARC CEA 2 RGT 400 T | тест | 2400
150 | ARC CEA 2 CAL | мл | 16
151 | ARC CEA 2 CTL | мл | 240
152 | ARC CYFRA RGT | тест | 200
153 | ARC CYFRA CAL | мл | 48
154 | ARC CYFRA CTL | мл | 240
155 | ARC HE4 RGT 100 T | тест | 100
156 | ARC HE4 CAL | мл | 16
157 | ARC HE4 CTL | мл | 120
158 | DS ARC PRO GRP RGT | тест | 100
159 | DS ARC PRO GRP CAL | мл | 16
160 | DS ARC PRO GRP CTL | мл | 120
161 | ARC FREE PSA RGT 400 T | тест | 2400
162 | ARC FREE PSA CAL | мл | 24
163 | ARC FREE PSA CTL | мл | 240
164 | ARC TOTAL PSA RGT 400 T | тест | 3200
165 | ARC TOTAL PSA CAL | мл | 24
166 | ARC TOTAL PSA CTL | мл | 240
167 | DS ARC SCC RGT | тест | 200
168 | DS ARC SCC CAL | мл | 24
169 | DS ARC SCC CTL | мл | 240
170 | ARC ANTI TG RGT 400 T | тест | 2000
171 | ARC ANTI TG CAL | мл | 48
172 | ARC ANTI TG CTL | мл | 240
173 | ARC ANTI TPO RGT 400 T | тест | 2000
174 | ARC ANTI TPO CAL | мл | 48
175 | ARC ANTI TPO CTL | мл | 240
176 | ARC FREE T3 RGT 2000 T | тест | 8000
177 | ARC FREE T3 CAL | мл | 48
178 | ARC FREE T3 CTL | мл | 240
179 | ARC FREE T4 RGT 2000 T | тест | 12000
180 | ARC FREE T4 CAL | мл | 48
181 | ARC FREE T4 CTL | мл | 240
182 | ARC TSH RGT 2000 T | тест | 12000
183 | ARC TSH CAL | мл | 48
184 | ARC TSH CTL | мл | 240
185 | BIO ARC 25-OH VITAMIN D 100T | тест | 600
186 | BIO ARC 25-OH VITAMIN D CAL | мл | 48
187 | BIO ARC 25-OH VITAMIN D CTL | мл | 240
188 | AS ARC ANTI-CCP RGT 100 T | тест | 100
189 | AS ARC ANTI-CCP CAL | мл | 24
190 | AS ARC ANTI-CCP CTL | мл | 120
191 | ARC B12 RGT 100 T | тест | 800
192 | ARC B12 CAL | мл | 48
193 | ARC B12 CTL | мл | 240
194 | BIO ARC C-PEPTIDE RGT100T | тест | 200
195 | BIO ARC C-PEPTIDE CAL | мл | 48
196 | BIO ARC C-PEPTIDE CTL | мл | 240
197 | ARC CORTISOL RGT 100 T | тест | 200
198 | ARCHITECT CORTISOL CALS | мл | 24
199 | ARC FERRITIN RGT 100 T | тест | 100
200 | ARC FERRITIN CAL | мл | 8
201 | ARC FERRITIN CTL | мл | 120
202 | ARC FOLATE RGT 100 T RF | тест | 100
203 | ARC FOLATE CAL RF | мл | 12
204 | ARC FOLATE CTL RF | мл | 120
205 | ARC FOLATE DIL RBC LYS RF | мл | 3200
206 | ARC FOLATE RBC LYSIS RF | мл | 300
207 | ARCH FOLATE MANUAL DILUENT | мл | 20
208 | AS ARC HBA1C RGT | тест | 100
209 | AS ARC HBA1C CALIBRATOR | мл | 24
210 | DS ARC INSULIN RGT 100T | тест | 1600
211 | DS ARC INSULIN CAL | мл | 48
212 | DS ARC INSULIN CTL | мл | 240
213 | BIO ARC IPTH REAGENT 400 T | тест | 1200
214 | BIO ARC IPTH CALIBRATOR | мл | 48
215 | BIO ARC IPTH CONTROL | мл | 240
216 | BIO ARC DHEAS RGT 100 T | тест | 300
217 | BIO ARC DHEAS CAL | мл | 48
218 | BIO ARC DHEAS CTL | мл | 240
219 | ARC ESTRADIOL RGT 100 T | тест | 600
220 | ARC ESTRADIOL CAL | мл | 60
221 | ARC ESTRADIOL CTL | мл | 240
222 | ARC FSH RGT 100 T | тест | 600
223 | ARC FSH CAL | мл | 60
224 | ARC FSH CTL | мл | 240
225 | ARC LH RGT 100 T | тест | 600
226 | ARC LH CAL KIT | мл | 60
227 | ARC PROGESTERONE RGT 100 T | тест | 600
228 | ARC PROGESTERONE CAL | мл | 60
229 | ARC PROGESTERONE CTL | мл | 240
230 | ARC PROGESTERONE MAN DIL | мл | 10
231 | ARC PROLACTIN RGT 100 T | тест | 600
232 | ARC PROLACTIN CAL | мл | 60
233 | ARC PROLACTIN CTL | мл | 240
234 | BIO ARC SHBG RGT 100 T | тест | 100
235 | BIO ARC SHBG CAL | мл | 60
236 | BIO ARC SHBG CTL | мл | 240
237 | ARC TESTOSTERONE RGT 100 T | тест | 400
238 | ARC TESTOSTERONE CAL | мл | 12
239 | ARC TESTOSTERONE CTL | мл | 240
240 | ARC TESTOSTERONE MAN DIL | мл | 4
241 | ARC TOT BHCG RGT 100 T | тест | 400
242 | ARC TOT BHCG CTL | мл | 48
243 | ARC TOTAL BHCG CAL | мл | 240
244 | ARC CYCLOSPORINE RGT 100T | тест | 100
245 | ARC CYCLO WB PRECIP RGT | мл | 58
246 | ARC CYCLOSPORINE CAL | мл | 32
247 | ARC TACROLIMUS RGT 100T | тест | 1000
248 | ARC TACROLIMUS CAL | мл | 96
249 | ARC TACROLIMUS PREC. REAG | мл | 204
250 | ARC ABBOTT IMMUNSUPPR-MCC | мл | 288
251 | ARC ICARBAMAZ RGT 100 T | тест | 100
252 | ARC ICARBAMAZEPINE CAL | мл | 24
253 | BIO ARC IDIGOXIN RGT 100T | тест | 100
254 | BIO ARC IDIGOXIN CAL | мл | 24
255 | DS ARC IPHENYTOIN RGT100T | тест | 100
256 | DS ARC IPHENYTOIN CAL | мл | 24
257 | DS ARC IVALPROIC ACID 100T RGT | тест | 100
258 | DS ARC IVALPROIC ACID CAL | мл | 24
259 | ARC HAVAB IGG RGT 100 T | тест | 100
260 | ARC HAVAB IGG CAL | мл | 4
261 | ARC HAVAB IGG CTL | мл | 16
262 | ARC HAVAB IGM RGT 100 T | тест | 300
263 | ARC HAVAB IGM CAL | мл | 8
264 | ARC HAVAB IGM CTL | мл | 32
265 | ARC HBSAG QUAL II RGT 100 T | тест | 500
266 | ARC HBSAG QUAL II CAL | мл | 16
267 | ARC HBSAG QUAL II CTL | мл | 32
268 | ARC ANTI-HBS RGT 100 T | тест | 400
269 | ARC ANTI-HBS CAL | мл | 8
270 | ARC ANTI-HBS CTL KITPACK | мл | 32
271 | ARC ANTI-HBC M RGT 100 T | тест | 100
272 | ARC ANTI-HBC M CAL | мл | 8
273 | ARC ANTI-HBC M CTL | мл | 32
274 | ARC ANTI HCV RGT 100 T | тест | 400
275 | ARC ANTI HCV CALIBRATOR | мл | 8
276 | ARC ANTI HCV CONTROL | мл | 16
277 | DS ARC HCV AG RGT 100T | тест | 400
278 | DS ARC HCV AG CAL | мл | 24
279 | DS ARC HCV AG CTL | мл | 48
280 | ARC HIV COMBO RGT 100T | тест | 100
281 | ARC HIV COMBO CAL | мл | 4
282 | ARC HIV COMBO CALIBRATOR | мл | 32
283 | ARC CMV IGG RGT 100 T | тест | 200
284 | ARC CMV IGG CAL | мл | 24
285 | ARC CMV IGG CTL | мл | 48
286 | ARC CMV IGM RGT 100 T | тест | 200
287 | ARC CMV IGM CAL | мл | 4
288 | ARC CMV IGM CTL | мл | 16
289 | ARC TRIGGER SOL | л | 96
290 | ARC PRE-TRIGG SOL | л | 96
291 | ARC CON WASH BUFF | л | 288
292 | ARC PROBE CONDITIONER | мл | 200
293 | ARC REACT VESSELS | бр. | 96000
294 | ARC SEPTUMS | бр. | 200
295 | ARC SAMPLE CUPS | бр. | 25000
296 | BUFFER FILTER | бр. | 1
297 | ARC MULTI ASSAY DILUENT | мл | 30
298 | ARC ABBOTT IMMUNOASSAY-MCC (Liquid) | мл | 180
299 | ARC WASH ZONE PROBE | бр. | 1
300 | ARC R WALL PRO FILTR | бр. | 1
301 | ARC SENSOR LEVEL BUFFER | бр. | 1
302 | ARC SENSOR LEVEL TRIGGER | бр. | 1
303 | ARC SENSOR LVL PRE-TRIGGER | бр. | 1
304 | ARC TUBING/SENS WZ | бр. | 2