## Sheet1
Техническа оферта:
”Доставка на консумативи и реактиви за „ARCHITECT ci 8200” - апарат за изследване на хормони, метаболизъм, микроелементи, молекулярно - биологични показатели, спешна диагностика на сърдечни маркери и други допълнителни тестове”

## reagents
Приложение 1 - Спецификация за необходими консумативи, реактиви, контроли и калибратори на клинико-химичен модул на анализатор ARCHITECT ci8200
Предлаганите консумативи и продукти трябва да разполагат със сертификат, че са приложими за клинико-химичен модул на анализатор ARCHITECT ci8200
Clinical Chemistry Reagents
Reagents, Calibrators and Controls c8000
CC Reagents c8000)
ENZYMES
| Продукт | Количества реактив (ml) в една опаковка | Брой проби в 1 опаковка | Брой опаковки за 2 год. | Съгласие
1 | Alkaline Phosphatase | 5x21 ml R1; 5x11 ml R2 | 1500 | 10
2 | Acid Phosphatase | 6x20 ml R1 | 623 | 4
3 | Alanine Aminotrasferase | 10x70 ml R1; 10x21 ml R2 | 3621 | 25
4 | Amylase | 5x21 ml R1 | 500 | 15
5 | Aspartate Aminotranferase | 10x70 ml R1; 10x21 ml R2 | 3621 | 25
6 | Creatinine Kinase | 5x48 ml R1; 5x15 ml R2 | 1250 | 16
7 | Gamma-Glutamyl Transferase | 5x46 ml R1; 5x15 ml R2 | 1500 | 12
8 | Lactate Dehydrogenase | 5x50 ml R1; 5x16 ml R2 | 1300 | 10
9 | Lipase | 5x59 ml R1; 5x14 ml R2 | 778 | 6
10 | Alpha-Amylase Pancreatic Liquid EPS G7 | 2x40 ml R1; 2x11ml R2 s | 295 | 5
11 | Alpha-HBDH UV Liquid | 2x50 ml R1; 2x12ml R2 s | 269 | 5
12 | Cholinesterase Liquid | 6x50 ml R1; 6x12ml R2 s | 1202 | 2
13 | CK-MB UV | 2x48 ml R1; 2x16 ml R2 s | 500 | 50
14 | Enzymatic creatinine | 3X48 ml R1; 3X18 ml R2 | 750 | 20
SUBSTRATES
| Продукт | Количества реактив (ml) в една опаковка | Брой проби в 1 опаковка | Брой опаковки за 2 год. | Съгласие
1 | Albumin BCG | 10x84 ml R1 | 2607 | 10
2 | Direct Bilirubin | 10x39 ml R1; 10x13 ml R2 | 2000 | 15
3 | CC TOT. BILI RGT 2750T | 10x53 ml R1; 10x17 ml R2 | 2750 | 12
4 | Neonatal Bilirubin | 4x36 ml R1 | 591 | 2
5 | Cholesterol | 10x84 ml R1 | 3032 | 10
6 | Iron | 4x50 ml R1; 4x9 ml R2 | 880 | 15
7 | Iron (plasma claim) | 3x90 ml R1; 3x11 ml R2 s | 918 | 30
8 | Iron, UIBC | 2x40 ml R1; 2x8 ml R2 s | 294 | 20
9 | TIBC | 50 Columns | 50 | 60
10 | Total Protein | 10x84 ml R1 | 3622 | 8
11 | CC GLUCOSE RGT 9000T | 5x20ml | 1500 | 30
12 | Urea Nitrogen | 5x10 ml R1; 5x12 ml R2 | 1500 | 25
13 | Uric Acid | 5x49 ml R1; 5x19 ml R2 | 1300 | 15
14 | Glycated HB A1c | 2x19,7 ml R1; 2x19,7 ml R2 | 300 | 30
15 | Creatinine | 5x55 ml R1; 5x17 ml R2 | 1875 | 20
16 | Phosporus | 2x40 ml R1; 2x71 ml R2 | 2800 | 6
17 | Triglyceride | 10x84 ml R1 | 3032 | 9
18 | Urine/CSF Protein | 3x18 ml R1; 3x6 ml R2 | 210 | 8
19 | CC ULTRA HDL | 6x84 ml R1; 4x32ml R2 | 1440 | 15
20 | CC DIRECT LDL RGT | 2x53 ml R1; 2x20 ml R2 | 450 | 20
21 | Ammonia UV Liquid | 3x20 ml R1 s | 241 | 4
22 | Calcium | 5x13 ml R1 | 1500 | 10
23 | Magnesium | 5x48 ml R1 | 1000 | 20
24 | BILE Acids | 5x10 ml R1; 5x4,5 ml R2 s | 141 | 2
25 | Copper | 5x20 ml R1; 5x5 ml R2 s | 290 | 2
26 | CYSTATIN C | R1: 2 x 46 ml, R2: 2 x 13 ml | 500 | 2
SPECIFIC PROTEINS
| Продукт | Количества реактив (ml) в една опаковка | Брой проби в 1 опаковка | Брой опаковки за 2 год. | Съгласие
1 | Prealbumin | 3x18 ml R1; 3x6 ml R2 | 242 | 2
2 | Transferrin | 5x20 ml R1; 5x9 ml R2 | 391 | 2
3 | CC HAPTOGLOBIN RGT | 3x17mlR1,3x7mlR2 | 230 | 2
4 | Apolipoprotein A1 | 3x21 ml R1; 3x9 ml R2 | 243 | 2
5 | CC APOLIPOPROTEIN B RGT | 3x21 ml R1; 3x9 ml R2 | 243 | 3
6 | CC C3 RGT | 3x20 ml R1; 3x8 ml R2 | 279 | 8
7 | CC C4 RGT | 3x20 ml R1; 3x8 ml R2 | 279 | 8
8 | Immunoglobulin A | 4x20 ml R1; 4x8 ml R2 | 373 | 8
9 | Immunoglobulin G | 4x20 ml R1; 4x20 ml R2 | 388 | 8
10 | Immunoglobulin M | 4x20 ml R1; 4x8 ml R2 | 373 | 8
11 | SENT CRP VARIO | 3x86 ml R1; 3x86ml R2 | 2193 | 15
12 | Microalbumin | 2x53 ml R1; 2x12 ml R2 | 500 | 10
13 | SENT Ceruloplasmin | 1x50 ml R1; 1x8 ml R2 s | 177 | 2
14 | BIO QUANTIA A-1 AGP | 1x50 ml R1; 1x9 ml R2 | 170 | 1
15 | Quantia ß2-Microglobulin | 4x6 ml R1; 4x3 ml R2 | 100 | 1
16 | Quantia Ferritin | 2x30 ml R1; 2x7 ml R2 | 280 | 2
17 | Quantia IgE | 2x16 ml R1; 2x5 ml R2 | 133 | 5
18 | BIO QUANTIA MYOGLOBIN RGT | 2x13 ml R1; 2x9 ml R2 | 148 | 2
19 | Quantia A1-AT | 2x17 ml R1; 2x4 ml R2 | 160 | 2
20 | Quantia D-DIMER | 2x13 ml R1; 2x3 ml R2 | 100 | 1
THERAPEUTIC DRUG MONITORING
| Продукт | Количества реактив (ml) в една опаковка | Брой проби в 1 опаковка | Брой опаковки за 2 год. | Съгласие
1 | Carbamazepine | 3x15 ml R1; 3x9 ml R2 | 300 | 2
2 | Phenytoin | 3x15 ml R1; 3x9 ml R2 | 300 | 2
3 | Digoxin | 3x22 ml R1; 3x9 ml R2 | 450 | 2
4 | Valproic Acid | 1x51 ml R1; 1x15 ml R2 | 180 | 2

## cals ctls
Приложение 2 - Спецификация за необходими консумативи, реактиви, контроли и калибратори на клинико-химичен модул на анализатор ARCHITECT ci8200
Предлаганите консумативи и продукти трябва да разполагат със сертификат, че са приложими за клинико-химичен модул на анализатор ARCHITECT ci8200
Clinical Chemistry Reagents
Reagents, Calibrators and Controls c8000)
Reagent Accessories
| Продукт | Количества (ml) в една опаковка | Брой опаковки за 2 год. | Съгласие
1 | ICT Reference Solution | 2 x 2 L | 17
2 | ICT Sample Diluent | 10x93 ml | 20
3 | ICT Serum Calibrator | 5x10ml,5x10ml | 10
4 | ICT Urine Calibrator | 5x10ml,5x10ml | 5
5 | ICT Cleaning Fluid | 10x12ml | 11
6 | Water Bath Additive | 2 x 500 ml | 15
7 | Acid Wash Solution | 2 x 500 ml | 40
8 | Alkaline Wash Solution | 2 x 500 ml | 30
CC Calibrators c8000)
| Продукт | Количества (ml) в една опаковка | Брой опаковки за 2 год. | Съгласие
1 | CC DIGOXIN CAL | 1x4.8ml;5x1,8ml | 2
2 | CC VALPROIC ACID CAL | 6x1ml | 2
3 | CC DIRECT LDL CAL | 3x1ml | 5
4 | Multiconsittuent Calibrator | 6 x 5 ml | 14
5 | Bilirubin calibrator | 6 x 5 ml | 10
6 | CC HDL CAL | 6 x 1 ml | 10
7 | Urine / CSF Protein Calibrator | 5 x 5 ml | 6
8 | Specific Protein MCC | 5x1ml | 6
9 | Glylcated Hb A1c Calibrator | 1x8ml;5x2ml | 8
10 | CC MICROALB CAL | 5x2ml | 3
11 | Lipase Calibrator | cal: 2 x 3 ml | 5
12 | HDL CAL | 6x1ml | 6
13 | LDL CAL | 3x1ml | 6
14 | CC APOA 1 APOB CAL | 1x1; 2x2ml | 4
15 | CC PREALBUMIN CAL | 5x1ml | 2
16 | CC Carbamazepine Calibrator | 3x5ml,5x2ml | 2
17 | CC Phenytoin Cal | 3x5ml,5x2ml | 2
18 | CK-MB Calibrator | 2 x 1ml | 10
19 | CRP Calibrator Set (0,5-32,0 mg/dL) | 7 x 2ml | 2
20 | CRP Calibrator US (0,25 mg/dL) | 1 x 2ml | 2
21 | SENT CRP CAL WR | 1x2ml | 8
22 | Clinical Chemistry Calibrator | 4 x 3 | 4
23 | Plasma Proteins Calibrator | 4 x 1 | 2
24 | Quantia ß2-Microglobulin Standard | 3 x 1 mL | 2
25 | Quantia Ferritin Standard | 4 x 1 mL | 2
26 | Quantia IgE Standard | 5 x 1 mL | 4
27 | BIO QUANTIA MYOGLOBIN STD CAL | 5 x 1ml | 2
28 | Quantia D-DIMER Standard | 3 x 2 ml | 1
29 | CYSTATIN C Calibrator | 2 x 1 ml | 2
CC Controls c8000)
| Продукт | Количества (ml) в една опаковка | Брой опаковки за 2 год. | Съгласие
1 | Glylcated Hb A1c Control | 4x0.25ml, | 8
2 | CC MICROALB CTL | 4x2ml | 4
3 | GR LIPID CONTROL | 4x2ml | 6
4 | CK-MB Control | 2 x1ml | 15
5 | CRP Control US (3x2 mL) | 3 x 2ml | 6
6 | Clinical Chemistry Control 1 (6x5 mL) | 6 x 5ml | 4
7 | Clinical Chemistry Control 2 (6x5 mL) | 6 x 5ml | 4
8 | Immuno Control 1 (1x5 mL) | 1 x 5ml | 4
9 | Immuno Control 2 (1x5 mL) | 1 x 5ml | 4
10 | Immuno Control Set (2 levels) | 2x (2 x 1) | 4
11 | Quantia Ferritin/Myoglobin/IgE Control | 2 x 3 mL | 6
12 | SENT AMMONIA CTL | 3x5ml | 2
13 | SENT BILE ACIDS CTL | 4x3ml | 2
14 | Quantia D-DIMER Control | 6 x 1 mL | 1
15 | CYSTATIN C CONTROL SET | 2 x 1 ml | 2

## access&cons
Приложение 3 - Спецификация за необходими консумативи, реактиви, контроли и калибратори на клинико-химичен модул на анализатор ARCHITECT ci8200
Предлаганите консумативи и продукти трябва да разполагат със сертификат, че са приложими за клинико-химичен модул на анализатор ARCHITECT ci8200
Architect c8000
Sample Handler (RSH)
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | RSH Sample Carrier Trays | 2 | 1
2 | Sample Carriers | 10 | 1
System Control Center (SCC)
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | AxSYM/ARCHITECT TFT MONITOR | 1 | 1
2 | UPS 220V | 1 | 2
3 | Printer 220V | 1 | 1
4 | SCC Barcode Scanner | 1 | 1
5 | Keyborard English | 1 | 1
Accessories
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | Cuvette Segment | 1 | 1
2 | Reagent Probe Tubing | 1 | 1
3 | Reagent Probe | 1 | 4
4 | Sample Probe | 1 | 4
5 | Sample Probe Tubing | 1 | 1
6 | c8000 Replacement Probe | 1 | 1
7 | R1 outer, small cartridge, segment B, C | 1 | 1
8 | R2, Small Cartridge, Segment B, C, D | 1 | 1
9 | Samples Carusel | 1 | 5
10 | Reagent/Sample Probe Screw | 1 | 1
11 | C8000 Maintenance Kit, Customer | 1 | 1
12 | Power Cable - UL and IEC Plug | 1 | 1
13 | High Concentration Waste Bottle | 1 | 1
14 | High Concentration Float Switch Cable | 1 | 1
15 | c8000 R2 LARGE SGM OUT BCD | 1 | 1
16 | Samples Carusel Clip | 1 | 1
17 | SH Barcode Tool | 1 | 1
18 | Sample Cups | 1000/box | 55
19 | Thermometer, External | 1 | 1
20 | Small Reagent Cartridge Adapter | 10 | 1
21 | 20 mL Reagent Cartridge Adapter | 10 | 1
22 | ICT Module | 1 | 8
23 | Wash Solution Check Valve | 1 | 1
24 | Pump Poppet Valve Set | 2 | 1
25 | Cuvette Wiper | 2 | 10
26 | Reference / Wash Solution Line Filter | 3 | 2
27 | Cuvette Drying Tip | 2 | 6
28 | Mixer | 1 | 1
29 | External Waste Pump | 1 | 1
30 | ICT Probe | 1 | 2
C8000 Customer Maintenance Kit
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | ICT Reference Solution Check Valve | 2 | 1
2 | Sample / Wash Solution Syringe Seal Tip # 1 | 2 | 1
3 | Sample / Wash Solution Syringe Seal Tip # 2 | 2 | 1
4 | Reagent Syringe Seal Tip # 1 | 4 | 1
5 | Ragent Syringe Seal Tip # 2 | 4 | 1
6 | 1 mL Syringe | 1 | 5
7 | Source Lamp | 1 | 10
8 | Sample / Wash Solution Syringe O-ring | 1 | 5
9 | Reagent Syringe O-ring | 1 | 5
C8000 System Consumables
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | Detergent A | 2 x 500 mL | 30
2 | Detergent B | 4 x 250 mL | 12
Reagent Cartridges
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | Small Cartridge, natural (55 mL) | 20/bag | 2
2 | Small Cartridge, white (55 mL) | 20/bag | 2
3 | Large Cartridge, natural (90 mL) | 20/bag | 2
4 | Large Cartridge, white (90 mL) | 20/bag | 2
5 | Container Caps | 20/bag | 2

## imuno
Приложение 4 - Спецификация за необходими консумативи, реактиви, контроли и калибратори за имунологичен модул на анализатор ARCHITECT ci8200
Предлаганите консумативи и продукти трябва да разполагат със сертификат, че са приложими за имунологичен модул на анализатор ARCHITECT ci8200
ARCHITECT ci8200
Immuno Assay Analyzer
Accessories and Consumables
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | Arc Probe Condition Solution | 4X25 ML | 12
2 | Maintenance Bottle (WAM-B12) | 1 | 2
3 | Maint. Bottle(Sample & Reagent Probe Cleaning) | 1 | 2
4 | System Operations, Paper | 1 | 1
5 | ARC i2000SR STAT PRBE TUB | 1 | 1
6 | Septum | 200 | 24
7 | ARC SEPTUMS (200 pack) | 200 | 1
8 | Replacement Cups | 100 | 2
9 | Carrier Calibration | 1 | 1
10 | IL Concrntrate Wash Buffer | 4 x 1l | 60
11 | IOL concentrate Wash Buffer (only ARM use) | 1 x 10l | 1
12 | Trigger Solution | 4 x 1l | 25
13 | Immuno Assay Multi Constituent Control | 12x5ml | 2
14 | ARC TMRMK-MCC Lyz | 6x2ml | 1
15 | Pre-Trigger Solution | 4 x 1l | 25
16 | ARC Test Man Dil | 1 | 1
17 | Barcode Calibration | 1 | 1
18 | WZ Probe Maintenance Bottle | 1 | 1
19 | Sample Cups | 1000/box | 55
20 | Reaction Vessels | 2000/box | 60
21 | ARC Multi-Assay Manual Diluent | 1 | 1
22 | Wash Zone Probe | 1 | 1
23 | Probe | 1 | 1
24 | Probe Tubing | 1 | 1
25 | Buffer Prep Container 10l Carboy (two) | 10 l | 1
26 | ARC Wash Zone Coated Probes (WAM-B12) | 1 | 1
27 | Tubing / Sensor, temp, WZ | 1 | 1
28 | Probe / Tubing, Waste Arm | 1 | 1
| Продукт | Опаковка | Брой опаковки за 2 год. | Съгласие
1 | AFP Reagent Pack | 100 tests | 20
| AFP Calibrator | 6 x 4ml | 5
| AFP Control | 3 x 8ml | 5
2 | CEA Reagent Pack | 100 tests | 25
| CEA Calibrator | 6 x 4ml | 5
| CEA Control | 3 x 8ml | 5
3 | CA 19-9 Reagent Pack | 100 tests | 20
| CA 19-9 Calibrator | 6 x 4ml | 4
| CA 19-9 Control | 3 x 8ml | 6
4 | CA 15-3 Reagent Pack | 100 tests | 20
| CA 15-3 Calibrator | 6 x 4ml | 4
| CA 15-3 Control | 2 x 8ml | 6
5 | CA 125 Reagent Pack | 100 tests | 20
| CA 125 Calibrator | 6 x 4ml | 4
| CA 125 Control | 3 x 8ml | 6
6 | Free PSA Reagent Pack | 100 tests | 32
| Free PSA Calibrator | 6 x 4ml | 5
| Free PSA Control | 3 x 8ml | 5
7 | Total PSA Reagent Pack | 100 tests | 40
| Total PSA Calibrator | 6 x 4ml | 5
| Total PSA Control | 3 x 8ml | 5
8 | SCC Reagent Pack | 100tests | 6
| SCC Calibrators | 6 x 4ml | 4
| SCC Controls | 3 x 8ml | 4
9 | ARC PRO GRP RGT 100 TEST | 100 tests | 6
| ARC PRO GRP CAL | 6 x 4 ml | 4
| ARC PRO GRP CTL | 3 x 8 ml | 4
10 | ARC HE4 RGT 100 TEST | 100 tests | 6
| ARC HE4 CAL | 6 x 4 ml | 4
| ARC HE4 CTL | 3 x 8 ml | 4
11 | ARC Cyfra RGT 100 TEST | 100 tests | 6
| ARC Cyfra CAL | 6 x 4 ml | 4
| ARC Cyfra CTL | 3 x 8 ml | 4
12 | FSH Reagent Pack | 4 x 100 tests | 7
| FSH Calibrator | 6 x 4ml | 3
| FSH X-Sys Control | 3 x 8ml | 3
13 | B-HCG Reagent Pack | 4 x 100 tests | 5
| B-HCG Calibrator | 2 x 4ml | 3
| B-HCG Control | 3 x 8ml | 3
14 | LH Reagent Pack | 4 x 100 tests | 5
| LH Calibrator | 6 x 4ml | 3
| LH Control | 3 x 8ml | 3
15 | PROLACTIN Reagent Pack | 4 x 100 tests | 5
| PROLACTIN Calibrator | 6 x 4ml | 3
| PROLACTIN Control | 3 x 8ml | 3
16 | ESTRADIOL Reagent Pack | 4 x 100 tests | 7
| ESTRADIOL Calibrator | 6 x 5ml | 3
| ESTRADIOL Control | 3 x 8ml | 3
17 | PROGESTERONE Reagent Pack | 4 x 100 tests | 7
| PROGESTERONE Calibrator | 2 x 4ml | 3
| PROGESTERONE Control | 3 x 4ml | 3
18 | TESTOSTERONE Reagent Pack | 4 x 100 tests | 5
| TESTOSTERONE Calibrator | 6 x 4ml | 3
| TESTOSTERONE Control | 3 x 8ml | 3
19 | TSH Reagent Pack | 4 x 100 tests | 20
| TSH Calibrator | 2 x 4ml | 5
| TSH Control | 3 x 8ml | 6
20 | Free T3 Reagent Pack | 4 x 100 tests | 10
| Free T3 Calibrator | 2 x 4ml | 4
| Free T3 Control | 3 x 8ml | 6
21 | Free T4 Reagent Pack | 4 x 100 tests | 20
| Free T4 Calibrator | 2 x 4ml | 5
| Free T4 Control | 3 x 8ml | 6
22 | Anti Tg Reagent | 4x100tests | 6
| Anti Tg calibrators | 6 x 4ml | 4
| Anti Tg controls | 2 x 4ml | 6
23 | Anti TPO Reagent | 4x100tests | 8
| Anti TPO calibrators | 6 x 4ml | 4
| Anti TPO controls | 2 x 4ml | 6
24 | Anti-HBs Reagent Kit | 1 x 100 tests | 12
| Anti-HBs Calibrator | 2 x 4ml | 4
| Anti-HBs Control | 3 x 8ml | 6
25 | ANTI HBC Reagent Pack | 100 tests | 6
| ANTI HBC calibrators | 2 x 4ml | 4
| ANTI HBC controls | 2 x 8ml | 4
26 | ANTI HBC-M Reagent Pack | 100 tests | 4
| ANTI HBC-M calibrators | 2 x 4ml | 2
| ANTI HBC-M controls | 2 x 8ml | 2
27 | HBsAg Reagent Pack | 100 tests | 12
| HBsAg Calibrator | 2 x 4ml | 4
| HBsAg Control | 2 x 8ml | 6
28 | HAVAB IGG Reagent Pack | 1 X 100 tests | 4
| HAVAB IGG Calibrator | 1 x 4ml | 2
| HAVAB IGG Control | 2 x 8ml | 2
29 | HAVAB M Reagent Pack | 1 X 100 tests | 4
| HAVAB M Calibrator | 1 x 4ml | 2
| HAVAB M Control | 2 x 8ml | 2
30 | Anti HCV Reagent Pack | 1 X 100 tests | 8
| Anti HCV Calibrator | 1 x 4ml | 4
| Anti HCV Control | 2 x 8ml | 6
31 | HBeAg Reagent Pack | 1 X 100 tests | 4
| HBeAg calibrator | 2 x 4ml | 2
| HBeAg control | 2 x 8ml | 2
32 | Anti-Hbe Reagent Pack | 1 X 100 tests | 4
| Anti-Hbe calibrator | 1 x 4ml | 2
| Anti-Hbe control | 2 x 8ml | 2
33 | CMV IGG Reagent Pack | 1 X 100 tests | 8
| CMV IGG calibrator | 1 x 4ml | 3
| CMV IGG control | 3 x 8ml | 4
34 | CMV IGM Reagent Pack | 1 X 100 tests | 8
| CMV IGM calibrator | 1 x 4ml | 3
| CMV IGM control | 2 x 8ml | 4
35 | SIROLIMUS Reagent Pack | 1 X 100 tests | 5
| SIROLIMUS calibrator | 1 x 9ml / 5 x 4,5 | 2
| SIROLIMUS control | 12 x 2ml | 3
36 | TACROLIMUS Reagent Pack | 1 X 100 tests | 20
| TACROLIMUS calibrator | 1 x 9ml / 5 x 4,5 | 10
| TACROLIMUS control | 12 x 2ml | 6
37 | CYCLOSPORINE Reagent Pack | 1 x 100 tests | 10
| CYCLOSPORINE calibrator | 1 x 9ml / 5 x 4,5 | 2
| CYCLOSPORINE control | 12 x 2ml | 4
38 | HIV Ag/Ab Combo Reagent Pack | 1 x 100 tests | 8
| HIV Ag/Ab Combo calibrator | 1 x 4ml | 3
| HIV Ag/Ab Combo control | 4 x 8ml | 4
39 | B12 Reagent Pack | 100 tests | 10
| B12 Calibrator | 6 x 4ml | 4
| B12 controls | 3 x 8ml | 4
40 | FERRITIN Reagent Pack | 100 tests | 12
| FERRITIN Calibrator | 2 x 4ml | 4
| FERRITIN Control | 3 x 8ml | 4
41 | FOLATE Reagent Pack | 100 tests | 4
| Folate Calibrator | 6 x 2ml | 2
| RBC Lysis Diluent | 1 x 12,5ml | 2
| Manual Diluent | 1 x 4ml | 2
| Folate Control | 3 x 8ml | 4
42 | Insulin Reagent Pack | 100 tests | 22
| Insulin calibrators | 6 x 4ml | 6
| Insulin controls | 3 x 8ml | 6
43 | AS ARC ANTI-CCP RGT 100 T | 100 tests | 1
| AS ARC ANTI-CCP CAL | 6 x 4.3 ml | 1
| AS ARC ANTI-CCP CTL | 2 x 7 ml | 1
44 | ARC HOMOCYSTEIN RGT 100TEST | 100 tests | 3
| ARC HOMOCYSTEIN CAL | 1 x 3.5; 5 x 2.5 ml | 2
| ARC HOMOCYSTEIN CTL | 3 x 2.5 ml | 2
45 | ARC C-PEPTIDE RGT 100 TEST | 100 tests | 1
| ARC C-PEPTIDE CAL | 6 x 4 ml | 1
| ARC C-PEPTIDE CTL | 3 x 8 ml | 1
46 | ARC NGAL RGT 100 T | 100 tests | 2
| ARC NGAL CAL | 6 x 4 ml | 1
| ARC NGAL CTL | 3 x 8 ml | 1
47 | Troponin Reagent Pack | 4 x 100 tests | 25
| Troponin Calibrator | 6 x 4ml | 9
| Troponin Control | 6 x 3ml | 6
48 | CK-MB Reagent Pack | 100 tests | 8
| CK-MB Calibrator | 2 x 1ml | 2
| CK-MB Control | 2 x 1ml | 4
49 | Myoglobin Reagent Pack | 100 tests | 8
| Myoglobin Calibrators | 6 x 4ml | 2
| Myoglobin Controls | 6 x 3ml | 4
50 | Cortisol Reagent Pack | 100 tests | 5
| Cortisol calibrators | 6 x 4ml | 3
| Cortisol controls | 12 x 5ml | 4
51 | Pepsinogen I Reagent Pack | 100 tests | 1
| Pepsinogen I calibrators | 2 x 4ml | 1
| Pepsinogen I controls | 3 x 8ml | 1
52 | I PTH Reagent Pack | 100 tests | 20
| I PTH calibrators | 6 x 4ml | 4
| I PTH controls | 3 x 8ml | 4
53 | SHBG Reagent Pack | 100 tests | 12
| SHBG calibrators | 6 x 2ml | 4
| SHBG controls | 3 x 4ml | 4
54 | DHEAS Reagent Pack | 100 tests | 12
| DHEAS calibrators | 6 x 2ml | 4
| DHEAS controls | 3 x 4ml | 4
55 | BNP Reagent Pack | 100 tests | 8
| BNP calibrators | 6 x 4ml | 4
| BNP controls | 3 x 8ml | 4
56 | ARC IVALPROIC ACID RGT 100T | 100 tests | 3
| ARC IVALPROIC ACID CAL | 6 x 4 ml | 2
57 | ARC IDIGOXIN RGT 100 TEST | 100 tests | 8
| ARC IDIGOXIN CAL | 6 x 4 ml | 4
58 | ARC CARBAMAZEPINE RGT 100 TEST | 100 tests | 2
| ARC CARBAMAZEPINE CAL | 6 x 4 ml | 2